12/1/14	DATE	Technology		DIVISION

X		REQUIRED COURSE	         X		NEW COURSE

X		ELECTIVE COURSE			REVISION

LAKE LAND COLLEGE

Course Information Form

COURSE NUMBER	  EET 065  	TITLE  Home Technology Integration

SEM CR HRS    3  	     LT HRS    2   	  LAB HRS    2  	SOE HRS  	          ECH

COURSE PCS #                                        (Assigned by Administration)

PREREQUISITES:   EET 040 (or concurrent enrollment) or permission of instructor

CATALOG DESCRIPTION:  This course is designed for students interested in the field of home technology integration. Focuses on background knowledge and hands-on skills to prepare for the CompTIA DHTI+ Exam.

CONTENT	LECTURE	LAB

OUTLINE	HOURS	HOURS

The Residential Environment	1	0

Network Fundamentals	2	2

Wireless Communications	2	2

Communication Technology	1	0

Voice & Data Applications	2	3

Entertainment Applications	2	3

Home Automation	2	2

Construction Process	2	2

Boxes		2	3

Electrical Cabling Installation	 _________________ ___2_______________2_____

Cabling Standards with Fiber	2	2

Telephone Wiring________________________________	1	2

Video Systems		1	1

Cabling and Wireless Networks_____________________	2	1

Testing Voice, Data, and Video	2	1

Television		1	1

Communication Infrastructure Design	1	1

Alarm and Security Systems	2	2

EVALUATION:	Quizzes     X    	Exams     X    	Oral Pres. 		Papers

Lab Work    X   	Projects 		Comp. Final    X   	Other

TEXTBOOK:	Title	Residential Integrator’s Basics		__________

Publisher		Thomson / Delmar Learning

Volume/Edition	  1st		Copyright Date   2007

Major Course Segment	Lecture/Lab Hours	Learning Outcome

The student will be able to:

The Residential Environment	1/0	Define an integrated home ____

network. Identify the basic ____

components of an integrated__ ________________________________________________home network.

Network Fundamentals	2/2	Understand basic networking

concepts. Define the steps of the ________________________________________________home network design process.__

__________________________________________________________________________

Wireless Communications	2/2	Identify different wireless applications		and standards. Assess the role of  ______________________________		satellite communications	.

___________________________________

Communication Technology	1/0	Explain the process of transmitting

________________________________________________audio and video signals._________

____________________________________________________________________________

Voice and Data Applications	2/3	Design a whole-house audio and

________________________________________________video distribution system.______

Understand externally provided

services.

__________________________________________________________________________

Entertainment Applications	2/3	Understand the architecture of home 	________________________________________________entertainment networks. Explain ________________________________________________functions of an entertainment server.

Home Automation	2/2	Integrate the heating, ventilation, and	________________________________________________air conditioning (HVAC) system

with other home systems. Explain the

_______________________________________	connectivity requirements of each ________________________________________________subsystem._________________

__________________________________________________________________________

Construction Process	2/2	Explain why all equipment must be 	________________________________________________installed according to the__________ ________________________________________________manufacturer’s instruction. Explain__ 	________________________________________________safety rules for working on a_______

________________________________________________construction site.________________

Boxes	2/3	Select the proper box for_________ ________________________________________________installation. Describe conduit bodies _________		and state where they are used.

Electrical Cabling Installation	              _2/2_________	Apply the rules for bundling cables

________________________________________________through holes or notches. Describe

________________________________________________the proper way to splice and pigtail

________________________________________________conductors with wire nuts._______

____________________________________________________________________________

Cabling Standards with Fiber	2/2	Understand the architecture of ________________________________________________residential cabling systems. ________________________________________________Distinguish between types of cable.

Explain the physical properties of

________________________________________________fiber-optic cable.  Describe the ________________________________________________relationship between bandwidth and

________________________________________________spectrum of light._______________

Telephone Wiring	1/2	Identify the many different

components in a home telephone__		system. Understand PBX and how it

________________________________________________works._______________________

_________________________________________________________________________

Video Systems 	1/1	Identify the types of video _____________________________________________	applications. List specific code ______________________________________	requirements.

__________________________

Cabling & Wireless Networks	2/1	Define the components of a wireless ________________________________________________network, Explain the fundamentals of 		802.11.______________________

Testing Voice, Data, and Video	2/1	Identify cable testing equipment. ________________________________________________Understand problems identified by ________________________________________________cable testing equipment.________

Identify types of signals.

Troubleshoot common signal ________________________________________________problems.

Television 	1/1	Describe the basic operation of a

________________________________________________satellite antenna. _____________

Communication Infrastructure_______ __1/1____________ Identify minimum points of entry and

________________________________________________decarmation points for service ________________________________________________providers. Plan for backbone and ________________________________________________redundant cable installations.

________________________________________________List several ways of providing future ________________________________________________flexibility for the infrastructure.____

Alarm and Security Systems  _________2/2_____________ Identify alarm system components.	________________________________________________Explain functions of the alarm system.

Course Outcomes: At the successful completion of this course, students will be able to:

- Explain the function of an entertainment server.

- Distinguish between different digital communications technologies.

- Program a smart controller for energy savings and security.

- Describe main home automation subsystems and describe their purpose.

- Align, program, and install a satellite system.